
[image: image1.jpg]‘worldwide




Invitation for Tender
Date; June 30, 2020

                                                   Tender Ref # – DF-PAK1094-IFT-59-A
Building Disaster Resilience in Pakistan (BDRP Programme)–Phase II
Construction of Medium to Large level DRR Infrastructure schemes in District Rajanpur
Doaba Foundation is a humanitarian organization working in disaster prone areas with the vision “Disaster Prone Communities Becoming Self-Reliant in Pursuit of Their Common Interests”. Doaba Foundation’s mission is to improve the quality of life among rural people and, it concentrates on communities prone to disaster. It believes in achieving the goal through optimal utilization of available resources i.e. physical-biological, moral and human. It seeks to build capacities of such communities incorporating even the relief activities into program of preparedness interventions, facilitating emergence of self-reliant communities”.
Deutsche Welthungerhilfe (DWHH) was established in 1962. It is today one of the largest private organizations working in the area of development cooperation and humanitarian aid in Germany. The organization is non-profit-seeking, non-partisan and non- denominational. Donations from the population at large fund our work in over 40 countries in Africa, Asia and Latin America. In addition, DWHH receives grants from the Federal German Government, the European Union, and the United Nations for International Development. DWHH is the execution agency of BDRP programme.

The Department for International Development (DFID) is a United Kingdom government department responsible for administering overseas aid. The goal of the department is "to promote sustainable development and eliminate world poverty". DFID's main programme areas of work are Education, Health, Social Services, Water Supply and Sanitation, Government and Civil Society, Economic Sector (including Infrastructure, Production Sectors and Developing Doaba Foundation), Environment Protection, Research, and Humanitarian Assistance. DFID is funding agency of BDRP programme.

In order to implement medium to large level DRR infrastructure schemes, Doaba Foundation invites reliable construction firm for Construction of Medium to large Infrastructure Schemes in Union council Bakharpur,Peer Bux Sharqi and Bait Sountra in District Rajanpur on work done basis.
1. Instructions to tenderers

By submitting a tender, tenderers fully and unreservedly accept the conditions of this call for tenders, which will constitute the governing the contract as the sole basis of this tendering procedure, whatever the tenderers own conditions of sale may be, which they hereby waive. Tenderers are expected to examine carefully and comply with all instructions, forms, contract provisions and specifications contained in this tender dossier. Failure to submit a tender containing all the required information and documentation within the deadline specified will lead to the rejection of the tender. No account can be taken of any remarks in the tender relating to the tender dossier; remarks may result in the immediate rejection of the tender without further evaluation.
To be eligible to take part in this tender procedure, tenderers must prove to the satisfaction of the Contracting Authority that they comply with the necessary legal, technical and financial requirements and have the means to carry out the contract effectively. 
The foreseeable timetable for this procedure is as follows:

	
	DATE
	TIME in PST

	Deadline for requesting clarifications from the Contracting Authority
	July 10, 2020
	12:00 PM

	Last date on which clarifications are issued by the Contracting Authority
	July 10, 2020
	05:00 PM

	Deadline for submission of tenders
	July 13, 2020
	12:00 PM


`
2. Specifications / Quantities
Lot: 01
Construction/Rehabilitation of Metal Road at Union Council Bakharpur Tehsil Jampur & District Rajanpur.
                                  Construction / Rehabilitation of Metal Road
	S.N
	Description of Item
	 Specifications
	Quantity
	Unit
	Rate
	Amount

	1
	Dismantling of old Edging
	Dismantling brick road edging dry bricks of 3" (75 mm) wide and 9" (225 mm) deep with removal of dabries complete in all respects.
	2700
	Cft
	
	

	2
	Edging Brick
	Providing and laying road edging of 3" (75 mm) wide and 9" (225 mm) deep brick on end, complete in all respects. 
	14400
	Rft
	
	

	3(a)
	Earth Work
	Earth filling lead excavation undressed lead upto a single throw of Kassi, Phaorah or shovel: ordinary soil including Transportation of earth all types when the total distance, including lead covered in the item of works is upto 2 kilo meter. Including ploughing and mixing with blade grade or disc harrow or other suitable equipment, and compaction by mechanical means at optimum moisture content and dressing to designed section, complete in all respects:-95% minimum modified AASHTO dry density.

if the source of earth is provided by the local community/UCDMC
	28875
	cft
	
	

	Sub Total (3 a)
	

	(3b)
	
	Earth filling lead excavation undressed lead upto a single throw of Kassi, Phaorah or shovel: ordinary soil including Transportation of earth all types when the total distance, including lead covered in the item of works is upto 2 kilo meter. Including ploughing and mixing with blade grade or disc harrow or other suitable equipment, and compaction by mechanical means at optimum moisture content and dressing to designed section, complete in all respects:-95% minimum modified AASHTO dry density.

if the source of earth is the responsibility of  the contractor
	28875
	cft
	
	

	Sub Total (3 b)
	

	Note: Quote rates for options, (3a and 3b). Contracting Authority reserves the right to consider either one or both options. The relevant unit rate will be considered if both options are availed as per actual work.

	4
	Tractor Blade Front /back (8’x1.5’)size
	Transportation of earth for construction of flood protection band with tractor blade front/back when the total distance 100 to 200 ft including the lead covered in the item of work. Including ploughing of earth for transportation of all type, Dressing, compacting and levelling of earth according to designed/drawing section, etc. Complete in all respect
	11.55
	Hours
	
	

	5
	Base-Course (Placing on Rough Surface)
	Providing and laying base course of crushed stone products size 1 ½” to 2 ½” in granular shape with (70% stone & 30% stone dust (Khaka). Stone dust (Khaka) used for filling of voids after spreading of base course material. Base course material supply and to spreading of stone screening, including placing, mixing and compaction of base course material to required depth, camber and grade to achieve 100% maximum modified AASHTO dry density, including carriage of all materials to site of work 

Before spreading of Base course on old surface of metal road made a rough surface through ploughing with machinery and approved by Engineer In charge.
	24585
	Cft
	
	

	6
	T.S.T                      (Triple Surface Treatment) 
	Providing surface treatment to roads, including supply of bitumen and bajri/crushed stone aggregate in granular shape, including cleaning of road surface, heating and spraying bitumen, spreading bajri and rolling
with road roller (including

 its operation cost, fuel and hire charges, etc.) etc. complete including carriage of all

Material to site of work. 
Note: All size of bajri(3/4”& 3/8”& ¼”) from Chiniot  District will be used in TST 
	
	
	
	

	
	
	Priming Coat:

Providing and laying bituminous priming coat, using 10

lbs. kerosene oil and 10 lbs. binder per 100 Sft.
1st  coat

ii) 35 lbs. bitumen and 4.0 Cft. bajri of nominal size ¾"  per %Sft.
	74500
	SFT
	
	

	
	
	2nd coat:-

18 lbs. bitumen, and 2.0 Cft. bajri of nominal size 3/8"  per %Sft.
	74500
	SFT
	
	

	
	
	3rd coat:-

14 lbs. bitumen, and 1.5 Cft. bajri of nominal size ¼"  per %sft 
	74500
	SFT
	
	

	7
	Visibility Boards
	MS SWG-18 -1.5" dia piped frame, 6ft Long with GI Sheet SWG-20,  4ft X 3ft (Framed with iron angle) fixed with pipe frame with 3-Iron pieces on all four sides, 8ft long column pipes with three welded angle irons at bottom on both sides for fixing in ground also includes painting, printing logos and writing with proper installation in village with PCC 1:2:4 at 2.0ft depth
	01
	No
	
	

	
	Total Amount PKR
	


        Lot: 02
Construction of DRR Resilience centres 04 Rooms (2 + 2 Room & Veranda) Toe wall including Toilet block and Boundary wall at Union Council Bait Sountra District Rajanpur. 
A- Construction of DRR Resilience Centre (2 + 2 Rooms Including Veranda)
	S.N
	Description of Item
	 Specifications
	Quantity
	Unit
	Unit Rate
	Amount

	1
	Excavation
	Excavation in foundation of building, bridges and other structures, including dagbelling, dressing, refilling around structure with excavated earth, watering and ramming lead upto one chain (30 m) and lift upto 5 ft. (1.5 m)  b) in ordinary soil.
	     5,631.47 


	P/Cft

	
	

	2
	Cement concrete (1:6:12)
	Cement concrete brick or stone ballast 1½ " to 2" (40 mm to 50 mm) gauge, in foundation and plinth: - ratio 1:6:1
	       818.91 
	P/Cft

	
	

	3
	Brick work
	Pacca brick work in foundation and plinth in:- i) Cement, sand mortar:- Ratio 1:6
	     4,271.53 
	P/Cft

	
	

	4
	D.P.C 
	Providing and laying damp proof course of cement concrete 1:2: 4(using cement, sand and shingle), including bitumen coating: - (a) with one coat bitumen and one coat polythene sheet 500gauge i) 1½" thick (40 mm)
	       833.73 
	P/Sft
	
	

	5
	Vertical D.P.C
	Providing and laying vertical damp proof course with cement sand plaster and bitumen coating: - (a) with one coat of bitumen and one coat of polythene sheet 500 gauge: i) Ratio 1: 4 a) ½" thick (13 mm)
	       333.19 
	P/Sft
	
	

	6
	Brick work
	Pacca brick work in ground floor: - i) cement, sand mortar: - Ratio 1:6
	     3,792.75 
	P/Cft

	
	

	7
	Plaster
	Cement plaster 1:3 upto 20' (6.00 m) height: - b) ½" (13 mm) thick
	       490.31 
	P/Sft
	
	

	8
	Reinforced cement concrete (1:2:4)
	(a) (i) Reinforced cement concrete in roof slab, beams, columns lintels, girders and other structural members laid in situ or precast laid in position, or prestressed members cast in situ, complete in all respects:-(3) (c) Type C (nominal mix 1: 2: 4) 
	     1,902.77 


	P/Cft

	
	

	9
	Reinforced cement concrete (1:2:4)
	(a)(ii) Reinforced cement concrete in slab of rafts/strip foundation, base slab of column and retaining walls; etc and other
 structural members other than those mentioned in 5(a) (i) above not requiring form work (i.e. horizontal shuttering) complete in all respects:-(3) Type C (nominal mix 1: 2: 4)
	       363.94 
	P/Cft
	
	

	10
	Mild Steel
	Fabrication of mild steel reinforcement for cement concrete, including cutting, bending, laying in position, making joints and fastenings, including cost of binding wire and labour charges for binding of steel reinforcement (also includes removal of rust from bars) :-(b) Deformed bars (Grade-40)
	     6,503.00 


	P/Kg


	
	

	11
	Plaster (1:3)
	Cement plaster 3/8" (10 mm) thick under soffit of R.C.C. roof slabs only, upto 20' height. b) 1:3
	     2,310.50 


	P/Sft
	
	

	12
	Plaster (1:4)
	Cement plaster 1:4 upto 20' (6.00 m) height: - b) ½" (13 mm) thick
	     1,509.25 
	P/Sft
	
	

	13
	Plaster (1:5)
	Cement plaster 1:5 upto 20' (6.00 m) height: - b) ½" (13 mm) thick
	     4,935.50 
	P/Sft
	
	

	14
	Surplus earth
	Filling, watering and ramming earth under floors: - i) with surplus earth from foundation, etc.
	     3,754.31 


	P/Cft

	
	

	15
	Earth Filling
	Filling, watering and ramming earth under floors: - ii) with new earth excavated from outside, lead upto one mile.
	   10,263.4
	P/Cft

	
	

	16
	Sand Filling
	Supplying and filling sand under floor; or plugging in wells.
	       958.47 
	P/Cft

	
	

	17
	Brick Balast
	Providing, laying, watering and ramming brick ballast 1½"to 2"(40 mm to 50 mm) gauge mixed with 25% sand, for floor
 foundation, complete in all respects.
	       938.25 


	P/Cft

	
	

	18
	Dry rammed Brick or stone Balast
	Dry rammed brick or stone ballast, 1½" to 2"( 40 mm to 50 mm) gauge.
	       196.01 
	P/Cft

	
	

	19
	Tiles
	Single layer of tiles 9"x4½"x1½" (225x113x40 mm) laid over 4"(100 mm) earth and 1" (25 mm) mud plaster without Bhoosa, grouted with cement sand 1:3 on top of RCC roof slab, provided with 34 lbs. per %Sft. or 1.72 Kg/Sq.m bitumen coating sand blinded.
	     2,546.13 


	P/Sft
	
	

	20
	Khuras
	Khuras on roof 2'x2'x6" (600 x 600 x 150 mm)
	           4.00 
	Each
	
	

	21
	P.V.C pipe 4” i/d
	Providing, laying, cutting, jointing, testing and disinfecting pipe line in trenches with P.V.C. pipes of B.S.S. with `B' Class working pressure complete in all respects:-) 4" i/d (100 mm)
	         56.00 


	P/Rft
	
	

	22
	P.V.C Bend 4” i/d
	Providing and installing P.V.C. bends, of B.S.S. i) ii) Class `B' working pressure: - e) 4" i/d (100 mm)
	           4.00 


	Each
	
	

	23
	Polythene sheet 500 gauge
	Supplying and laying polythene sheet over D.P.C. under floors and on roofs, etc. ii) 500 gauge (.005" thick)
	     2,562.13 


	P/Sft
	
	

	24
	Mosaic Flooring
	P/L 1½"(40 mm) thick mosaic flooring, consisting of ½ "(13 mm) mosaic topping of one part of cement and marble powder in the ratio of 3:1 and two parts of marble chips, laid over 1"(25 mm) thick floor of 1:2:4 cement concrete, including rubbing and polishing complete with finishing :- (a) using grey cement
	     3,186.66 


	P/Sft
	
	

	25
	Marble Strip
	Providing and fixing marble strip of any shade for dividing the mosaic flooring into panels a) Size 1½" x 3/8" (40 x 10 mm)
	     1,911.99 


	P/Rft
	
	

	26
	Dado or Skirting
	Mosaic dado or skirting with one part of cement and marble powder in the ratio of 3:1 and two parts of marble chips, laid over ½"(13 mm) thick cement plaster 1:3, including rubbing and polishing, complete with finishing: a) using grey cement: ii) ½"(13 mm) thick
	       616.17 


	P/Sft
	
	

	27
	Door
	Providing and fixing 1-1/2" forged door comprising of G.I Pressed double skin paneled sheet of 22 SWG in specified width of rails, styles and panels fixed on both sides of fillet (Honey Comb paper with adhesive) duly fixed in G.I chowkat of 16 SWG and G.I Architrave on one side with heavy duty 4 No. steel hinges i/c 9" long Tower Bolt, 12" long Iron Sliding bolt, Rawal bolts for Hold Fast, i/c the cost of powder coated paint and punching of required holes as approved and directed by the Engineer Incharge.
	       196.00 


	P/Sft
	
	

	28
	Window
	P/F MS box section of 16 SWG, having frames of 2” x 1-1/2”, leave frame of T-type box section of 2”x1”x1”, with ½”x1/2” box section using, U shaped rubber for fixing 5 mm thick glass panes i/c the cost of fixing of 24 SWG wire guaze on inner side by means of ½”x1/8” MS flat patti, MS grill fitted within the window frame and screws including  hinges, brass handles and painting 3 coats. Complete in all respect
	       320.00 


	P/Sft
	
	

	29
	White wash
	White Washing three coats on new surface
	     2,310.50 
	P/Sft
	
	

	30
	Weather shield paint
	Providing and applying weather shield paint of approved quality on external surface of building including preparation of surface, application of primer  complete in all respect: a) new surface: 2 coat
	     1,383.50 


	P/Sft
	
	

	31
	Distemper
	Distempering three coats on new surface.
	     3,444.00 
	P/Sft
	
	

	32
	Pointing
	Cement pointing struck joints, on walls, upto 20' (6.00 m) hiehgt:- a) ratio 1:2


	     5,372.45 


	P/Sft
	
	

	33
	Extra Cost of labour&Material
	Extra cost of labour and material for red oxide pigment in cement pointing to match with the colour of bricks.
	     5,372.45 


	P/Sft
	
	

	34
	White Laminated board
	Providing and Fixing 3/4" thick white laminated board fixed with 3"x1-1/2" Deodar wood frame on wall including polishing complete in all respects as approved by the Engineer Incharge.
	       128.00 


	P/Sft
	
	

	35
	Drip Course
	Making drip course 2"x½" (50x13 mm) under RCC slab edges in outer opening, in cement, sand mortar 1:2.
	       443.50 


	P/Rft


	
	

	36
	Heavy steel work
	Fabrication of heavy steel work, with angle, tees, flat iron round iron and sheet iron for making trusses, girders,tanks, etc.,including cutting, drilling, revitting, handling, assembling and fixing, but excluding erection in position. i/c erection at site
	       206.45 


	P/Kg


	
	

	37
	Brick Pavement
	Providing and laying dry brick pavement /soling in streets or roads, etc. sand grouted, laid in proper camber, including preparation, watering, compaction of bed to proper camber, and sand cushion.
	       218.40 


	P/Cft

	
	

	38
	Visibility Plate
	Visibility plate Marble 2'x2'x3/4" thick with writing and four color logos (engraved)
	2
	Each
	
	

	Total Amount PKR(A)
	


B-Electric Installation (DRR Centre+ Toilet Block)
	S.N
	Description of Item
	 Specifications
	Quantity
	Unit
	Unit Rate
	Amount

	39
	PVC Pipe
	Supply and erection of PVC pipe for wiring recessed in walls, including inspection boxes, pull boxes, hooks, cutting jharries,and repairing surface, etc., complete with all specials. P#141(3.iii)
	
	
	
	

	
	
	3/4" i/d PVC Pipe
	420
	P/Rft
	
	

	
	
	1" Dia PVC Pipe
	208
	P/Rft
	
	

	
	
	1-1/2" dia PVC Pipe
	96
	P/Rft
	
	

	40
	Cables
	Supply and erection of single core PVC insulated copper conductor cables, in prelaid PVC pipe/ M.S. conduit /G.I pipe /wooden strip batten/wooden casing an capping /G.I. wire/trenches (rate for cables only):250/440 volts, PVC insulated- p#142(10.a
	
	
	
	

	
	
	3/0.029" 
	1900
	P/Rft
	
	

	
	
	7/0.036"
	624
	P/Rft
	
	

	
	
	7/0.029"
	240
	P/Rft
	
	

	41
	Cables(7/0.044)
	Supply and erection of copper conductor cables for service ditto connection, in prelaid pipe/G.I. wire/trenches, etc. (rate for cable only):- PVC insulated, PVC sheathed twin core, 250/440 volts. v) 7/1.12 mm (7/0.044")


	200


	P/Rft
	
	

	42
	M.S Box
	Supply and erection of M.S. sheet box of 16 SWG, 10 cm (4") deep, with 4.75 mm thick (3/16") bakelite sheet top, for recessed wiring, including making holes for regulators, switches, plugs, etc. 
	
	
	
	

	
	
	9"x4"
	4
	Each
	
	

	
	
	7"x4"
	8
	Each
	
	

	
	
	4'x4"
	4
	Each
	
	

	43
	Switch
	Supply and erection of 3 pin switch and plug combined, recessed type.

i) 10/15 Amp
	8


	P/No
	
	

	44
	Wall Socket
	Supply and erection of 3 pin. 5 Amp wall socket
	8


	P/No
	
	

	45
	Switch Piano type
	Supply and erection of switches 5 Amp. ii) Piano Type


	54


	P/No
	
	

	46
	LED Bulb
	Supply and erection of LED Bulb 18 watt best quality as approved by the engineer incharge in class room & Toilet block

28+3=31
	31


	P/No
	
	

	47
	Fan Hook
	i) Supply and erection of 3/8" (10 mm) dia M.S. bar fan hook placed at the time of casting of slab. 
	16


	P/no
	
	

	48
	Ceiling Fan
	Providing and installtion of of ceiling fan 56" Size G.F.C/PAK Made. (Energy Efficient Fan as approved by PEECA) i/c Dimmer
	16


	P/No
	
	

	49
	Earthing
	Earthing of iron clad/aluminum switches, etc. with G.I. wire No. 8 SWG in G.I. pipe 15 mm (½") dia, recessed or on surface of wall and floor, complete with 1.5-metre-long G.I. pipe, 50 mm (2") dia with reducing socket 4 to 5 metre below ground level, and 
	1


	P/No
	
	

	50
	Distribution Board
	S/E of branch Distribution Board Consistly of 16 SWG M/S sheet box  (12"x 18"x6") duly powerd coated  i/c cost of 1 Nos volt Meter,1 No Ampair Meter, L.E.D Neon lights, having glass front with rubber gas kit alolng with locking arrangement complete in all
	1


	P/No
	
	

	51
	Wooden Board
	S/E of sahl wood board 1-3/4"deep 8" x 10"
	1
	Each
	
	

	52
	Button Holder
	S/E of bakelite button holder shade large size.
	2
	Each
	
	

	53
	Switch & Plug
	S/E of 3 pin switch and plug combined recessed type
	1
	Each
	
	

	Total Amount PKR (B)
	


C- Construction of Boundary Wall
	S.N
	Description of Item
	 Specifications
	Quantity
	Unit
	Unit Rate
	Amount

	54
	Excavation
	Excavation in foundation of building, bridges and other structure, i/c dagbelling dressing, refilling around

, structure with excavated earth

, watering and ramming lead upto one

chain and lift upto 5 ft in ordinary soil.
	330


	P/Cft

	
	

	55
	Cement Concrete
	Cement concrete brick or stone ballast 1-1/2" to 2" gauge in foundation and plinth, Ratio (1:7:20)
	110


	P/Cft

	
	

	56
	Brick Work
	Pacca brick work in foundation and plinth in cement sand

mortor, Ratio 1:6
	443


	P/Cft

	
	

	57
	D.P.C
	P/L D.P.C. of cement concrete 1:2:4 (using cement, sand and shingle), i/c  

bitumen coating with two coats bitumen

1-1/2" thick.
	124


	P/Sft
	
	

	58
	Brick Work
	Pacca brick work other than building upto 10ft height cement sand mortor

, Ratio 1:5
	613


	P/Cft

	
	

	59
	Plaster
	Cement plaster 1:5 upto 20' height, 1/2" thick.
	865
	P/Sft
	
	

	60
	Pointing
	Cement pointing deep struck joint, on walls, upto 20'eight ratio 1:2 with extra cost of labour and material for red oxide

pigment in cement poiting to match with the colour of bricks.
	1320


	P/Sft
	
	

	61
	Plain Cement Concrete
	Cement concrete plain i/c placing, compacting, finishing and curing complete i/c screening and washing

(of stone aggregate) Ratio (1:2:4).
	11


	P/Cft

	
	

	62
	Surplus Earth
	Filling, watering and ramming earth under floors, with surplus earth from

foundation etc.
	220


	P/Cft

	
	

	63
	Visibility Board
	MS SWG-18 -1.5" dia piped frame, 6ft Long with GI Sheet SWG-20,  4ft X 3ft (Framed with iron angle) fixed with pipe frame with 3-Iron pieces on all four sides, 8ft long column pipes with three welded angle irons at bottom on both sides for fixing in ground also includes painting, printing logos and writing with proper installation in village with PCC 1:2:4 at 2.0ft depth
	1
	P/Nos
	
	

	Total Amount PKR (C)
	


                                                   D- Construction of Toilet Block with Septic Tank
	S.N
	Description of Item
	 Specifications
	Quantity
	Unit
	Unit Rate
	Amount

	64
	Excavation
	Excavation in foundation of building, bridges and other structure, i/c dabbling dressing, refilling around

, structure with excavated earth

, watering and ramming lead upto one

chain and lift upto 5 ft in ordinary soil.
	492


	P/Cft

	
	

	65
	Cement Concrete
	Cement concrete brick or stone ballast 1-1/2" to 2" gauge in foundation and plinth, Ratio (1:6:12)
	87


	P/Cft

	
	

	66
	Brick or Stone ballast
	Dry rammed brick or stone ballast 1-1/2" to 2" gauge.
	51


	P/Cft

	
	

	67
	Brick Work
	Pacca brick work in foundation and plinth in cement sand mortor, Ratio 1:6
	342
	P/Cft

	
	

	68
	D.P.C
	P/L D.P.C. of cement concrete 1:2:4 (using cement, sand and shingle), i/c bitumen coating with one coat bitumen

and one coat polythene sheet 500 gauge 1-1/2" thick.
	32


	P/Sft
	
	

	69
	Brick Work
	Pacca brick work in ground floor in cement sand mortor Ratio 1:6
	277
	P/Cft

	
	

	70
	Reinforcement Cement Concrete
	Reinforced cement concrete in roof slab, beams, columns lintels, girders and

other structural members laid in situ or

precast laid in position, or prestressed members cast in situ, complete in all

respect,Type C (nominal mix 1:2:4).
	44


	P/Cft

	
	

	71
	Mild Steel 
	Fabrication of mild steel reinforcement for cement concrete i/c cutting, bending

, laying in position, making joints and 

fastining, i/c cost of binding wire and labour charges for binding of steel

reinforcement ( also i/c removal of rust 

from bars ). Deformed bars (Grade-40).
	134


	P/KG
	
	

	72
	Steel Door
	P/F mild steel door ( also almirah ) consisting of chowkat manufactured

by the welding M.S. flat size 2"x1/4" M.S. angle iron 1-1/2"x1-1/2"x1/4"

with steel leaves comprising of M.S. sheet 18-SWG fixed/welded a M.S. frame of angle iron 1-1/4"x1-1/4"x3/16"

and diagonal braces of angle iron 1"x1"x1/8" and M.S. flat 2"x3/16" fixed in horizontal on both side I/c cost of

handle, hinges and locking arrangement as approved by the Engineer incharge
	53


	P/Sft
	
	

	73
	M.S Grill
	P/F M.S. flat 1/2"x1/8" grill I/c 3/4"x1/8" M.S. flat frame in windows of approved

design I/c painting three coats complete in all respect.
	9


	P/Sft
	
	

	74
	G.I Wire Guaze
	P/F G.I. Wire gauze 22-SWG 12x12 meshes per square inch fixed to steel window, complete with flat iron Patti
1/2"x1/8"  and machine made screw
	9


	P/Sft
	
	

	75
	Cement Plaster
	Cement plaster 3/8" thick under soffit of RCC roof slabs only, upto 20' height 1:4.
	60
	P/Sft
	
	

	76
	Tiles on Roof top (Single Layer)
	Single layer of tiles 9"x4-1/2"x1-1/2" laid over 4" earth and 1" mud plaster without bhoosa, grouted with cement

sand1:3 on top of RCC roof slab, provided with 34Lbs per %Sft or

1.72 Kg/Sq m bitumen coating sand blinded, with S/L polythene

sheet over D.P.C. under floors and on roof etc 500 gauge.
	64


	P/Sft
	
	

	77
	Surplus Earth
	Filling, watering and ramming earth under floors, with surplus earth from

foundation etc.
	328
	P/Cft

	
	

	78
	Earth Filling
	Filling, watering and ramming earth under floors, with new eartrh excavated

from outside lead upto one mile.
	307


	P/Cft

	
	

	79
	Sand Filling
	S/F sand under floor, or plugging in wells.
	48
	P/Cft
	
	

	80
	Brick Balast
	Providing, laying, watering and ramming brick ballast 1-1/2" to 2" gauge mixed 

25% sand for floor foundation,

Complete in all respect.
	48


	P/Cft

	
	

	81
	Plain Cement Concrete
	Cement concrete plain i/c placing, compacting, finishing and curing

Complete (i/c screening and washing of stone aggregate) Ratio (1:2:4).
	8


	P/Cft

	
	

	82
	Glazed Tiles
	Laying floor of approved coloured glazed tiles ¼ "(6 mm) thick, laid in white cement and pigment on a bed

of ¾"(20 mm) thick cement mortar 1:2.
	44


	P/Sft
	
	

	83
	Glazed Tile Dedo
	Coloured glazed tile dado (6"x6"¼") (6mm) thick in pigment over1:2 cement,

sand mortar 3/4"(20mm) thick, including finishing.
	124


	P/Sft
	
	

	84
	Conglomerate Flooring 2"thick
	P/L conglomerate flooring (two coat work) with top layer of 1/2" thick wearing surface consisting of one part of

cement and 2 parts of stone cips passing

3/16" sieve, over bottom layer of cement concrete 1:3:6 I/c surface finishing and dividing in panels 2"thick
with rubbing.
	22


	P/Sft
	
	

	85
	Conglomerate Flooring 1-1/2"thick
	P/L conglomerate flooring (two coat work) with top layer of 1/2" thick wearing surface consisting of one part

of cement and 2 parts of stone cips

passing 3/16" sieve, over bottom layer of cement concrete 1:3:6 I/c surface

finishing and dividing in panels 1-1/2"

thick with rubbing. In toe wall
	158


	P/Sft
	
	

	86
	Marble Strip
	P/F marble strip of any shade for dividing the mosaic flooring nto panels size 1-1/2"x3/8 i".
	108


	P/Sft
	
	

	87
	Plaster
	Cement plaster 1:5 upto 20' height, 1/2" thick.
	344
	P/Sft
	
	

	88
	Pointing
	Cement pointing struck joint, on walls, upto 20'eight ratio 1:2 with extra cost

of labour and material for red oxide pigment in cement pointing to match with the colour of bricks.
	380


	P/Sft
	
	

	89
	Khuras
	Khuras on roof 2'x2'x4".
	1
	P/Sft
	
	

	90
	Parnalas
	Khassi parnalas in cement sand mortor 1:2, 12" outside width finished smooth

with a floating coat of neat cement.
	10


	P/Sft
	
	

	91
	Skirting
	Providing grey cement skirting or dado 3/8" thick I/c rounding of corner & straight ending of top edge & finishing troy
smooth surface after plastering 1:2 

cement sand mortar.
	14


	P/Sft
	
	

	92
	White Wash
	White washing on new surface three coats.
	335
	P/Sft
	
	

	93
	Painting
	Painting door & window three coats on new surface.
	105
	P/Sft
	
	

	94
	Water Closet
	P/F glazed earthen ware water closet squatter type orisha pattern combined with foot rest I/c 'P' trap
	3
	P/Nos
	
	

	95
	Flushing Bend
	P/F flushing bend of PVC 1-1/4".
	2
	P/Nos
	
	

	96
	Cost Iron Pipe 4" dia
	P/F cast iron soil pipe with cement caulked joint 4" dia
	12
	P/Rft
	
	

	97
	Cost Iron Pipe 2" dia
	P/F cast iron soil pipe with cement caulked joint 2" dia
	12
	P/Rft
	
	

	98
	G-I Pipes

1/2" dia
	Providing, laying, cutting, jointing, testing and disinfecting G.I. Pipeline in trenches with socket joint, using. Pipes of B.S.S1387-1967 complete in all respect with specials and valves

 (Medium Quality) 1/2" dia
	20


	P/Rft


	
	

	99
	G-I Pipes

3/4" dia
	Providing, laying, cutting, jointing, testing and disinfecting G.I. Pipeline in trenches with socket joint, using G.I

. Pipes of B.S.S1387-1967 complete in all respect with specials and valves

 (Medium Quality). 
	20


	P/Rft


	
	

	100
	RCC Pipe
	P/L R.C.C. pipe moulded with cement concrete 1:1-1/2:3, with spigot socket

or collar joint etc I/c cost of reinforcement conforming to B.S. 5911

part-1: 1981, Class "L" I/c carriage

of pipe from factory to site of work, lowering in trenches to correct

alignment and grade, jointing, cutting pipes where necessary, finishing

and testing etc complete 4" dia
	15


	P/Rft


	
	

	101
	Bib Cock
	P/F C.P. bib cock 1/2" dia
	3
	Each
	
	

	102
	Stop Cock
	P/F C.P. stop cock 1/2" dia
	3
	Each
	
	

	103
	Water Tank

with angle iron stand
	Providing and fixing Storage Water Tank (Super Tuff) 200 Gallon capacity vertical

with M.S angle iron stand complete in all respect as approved by the

Engineer Incharge.
	1
	Each
	
	

	104
	Wash Hand Basin
	Providing and fitting glazed earthen ware wash hand basin56x40 cm (22"x16") including bracket set, waste

pipe and waste coupling, etc. white, with pedestal
	1
	Each
	
	

	105
	Flushing Cistern
	Providing and fitting plastic made low down flushing cistern13.63 litre (3 gallons) capacity, including bracket set

copper connection, coloured etc. Complete in all respect.
	3
	Each
	
	

	106
	Gate Valve
	Providing and fixing gun metal peet/gate valve (screwed30 mm (1¼") dia
	1
	Each
	
	

	107
	Excavation      (Septic Tank)
	Earthwork excavation of trenches in open cutting for sewers and manholes as shown in drawings i/c shuttering and 

timbering, dressing to correct section and dimensions according to templates

and levels, and removing surface water

in all types of soil except shingles, gravel and rock0 ft to 7.0 ft depth.
	124


	P/Cft

	
	

	108
	Cement Concrete
	Cement concrete brick or stone ballast 1-1/2" to 2" gauge in foundation and

plinth, Ratio (1:5:10)
	31


	P/Cft

	
	

	109
	Brick Work
	Pacca brick work other than building upto 10ft height cement sand mortor,

Ratio 1:5
	74


	P/Cft

	
	

	110
	Reinforcement Cement Concrete 
	Reinforced cement concrete in slab of raft / strip foundation base slab of column and retaining walls, etc and other structure members other than

those mentioned complete in all respect, type C (nominal mix 1:2:4 )
	7


	P/Cft

	
	

	111
	Mild Steel
	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending

 laying in position, making joints and 

fastening, i/c cost of binding wire and labour charges for binding of steel

reinforcement (also i/c removal of rust 

from bars). Deformed bars (Grade-40).
	22


	P/Kg


	
	

	112
	Plaster
	Cement plaster 1:5 up to 20' height, 1/2" thick.
	144


	P/Sft
	
	

	113
	Cement Concrete Plain
	Cement concrete plain i/c placing, compacting, finishing and curing

Complete (i/c screening and washing of stone aggregate) Ratio (1:2:4).
	4


	P/Cft

	
	

	114
	HDPE Pipe
	HDPE pipe 3/4" dia cutting jointing testing and disinfecting HDPE line in trenches with socket joints using   complete in all respects with specials and value medium quality. 


	70


	P/Rft
	
	

	115
	Goldamatic Pump
	Providing and fixing Goldamatic pump G-1, 0.5-HP motor 15m Section and

30 m Head (Non automatic) complete

with steel cage/cover 3.5’x3.5’x3’ size with locking arrangements including painting and fixing complete in all respect as approved by the Engineer incharge
	1
	P/Job
	
	

	116
	Visibility Plate
	Visibility plate Marble 2'x2'x3/4" thick with writing and four colour logos (engraved)
	1
	P/No
	
	

	Total Amount PKR (D)
	

	Total Amount(A+B+C+D)
	


Lot: 03

Construction /Rehabilitation of soling with RCC culverts in Union Council Peer Bakhsh Sharqi District Rajanpur
A- Construction of RCC Culverts 
	S.N
	Description of Item
	 Specifications
	Quantity
	Unit
	Rate
	Amount

	1
	Excavation
	Excavation in foundation of building, bridges and other structures, including dig belling, dressing, refilling around, structure with excavated earth, watering and ramming lead, up to one chain (30 m) and lift up to 5 ft.  in ordinary soil
	600
	Cft
	
	

	2
	Plain Cement Concrete
	Cement concrete plain including placing, compacting, finishing and curing, complete (including screening and washing of stone aggregate): RATIO 1:4:8
	200
	Cft
	
	

	3
	Plain Cement Concrete
	Cement concrete plain including placing, compacting, finishing and curing, complete (including screening and washing of stone aggregate): RATIO 1:2:4
	40
	Cft
	
	

	4
	Brick Work 
	Pacca brick work in foundation and Plinth with cement sand mortar 

Ratio 1:4
	615
	Cft
	
	

	5
	Reinforcement Cement Concrete
	Providing and laying reinforced cement concrete (including Pre-stressed concrete), using coarse sand and screened, graded and washed aggregate, in required shape and design, including forms, moulds, shuttering, lifting, compacting, curing, rendering and finishing exposed surface, complete, 
(but excluding the cost of steel reinforcement, its fabrication, and placing in position, etc.):- Reinforced cement concrete in roof slab, beams, columns lintels, girders and other structural members laid in situ or precast laid in position, or pre stressed members cast in situ, complete in all respects:-Type C (nominal mix 1: 2: 4)
	245
	CFt
	
	

	6
	Plaster Work
	½” thick cement Plaster upto 20’ height of cement sand (Ratio 1:4)
	640
	Sft
	
	

	7
	Steel Work 
	Fabrication of mild steel reinforcement for cement concrete, including cutting, bending, laying in position, making joints, and fastenings, including cost of binding wire and labour, charges for binding of steel reinforcement (also includes removal of rust from bars): - The rate includes wastage, overlaps etc Deformed bars (Grade-40)
 Note: Tensile strength certification required from reputable laboratory 
	750
	Kg
	
	

	8
	Visibility Plate
	Visibility marble plate 12’’x9’’x1/2’’ with four colours logos with lettering approved by engineer in charge complete in all respect.(engraved)
	5
	NOs
	
	

	Total Amount PKR (A)

B- Construction/Rehabilitation of soling 
	

	S.N
	Description of Item
	 Specifications
	Quantity
	Unit
	Rate
	Amount

	1(a)
	Earth Filling 
	Earth for filling lead excavation undressed lead upto a single throw of Kassi, Phaorah or shovel: Ordinary Soil including Transportation of earth all types when the total distance, including lead covered in the item of works is upto 2 kilo meter. Leveling and Compaction of earth work soft ordinary or hard soil, Ramming of earth work minimum 85% AASHTO.

Subject to the approval of engineer.

if the source of earth is provided by the local community/UCDMC
	237275


	CFT
	
	

	Sub Total (1 a)


	

	1(b)
	
	Earth for filling lead excavation undressed lead upto a single throw of Kassi, Phaorah or shovel: Ordinary Soil including Transportation of earth all types when the total distance, including lead covered in the item of works is upto 2 kilo meter. Leveling and Compaction of earth work soft ordinary or hard soil, Ramming of earth work minimum 85% AASHTO.

Subject to the approval of engineer.

if the source of earth is the responsibility of  the contractor
	237275


	CFT
	
	

	Sub Total (1 b)
	

	Note: Quote rates for options, (1a and 1b). Contracting Authority reserves the right to consider either one or both options. The relevant unit rate will be considered if both options are availed as per actual work.

	2
	Brick soling
	Providing and laying dry brick pavement/soling in streets or

Roads, etc with A-class bricks. Sand grouted, laid in proper camber, including preparation, watering, compaction of bed to proper camber and 3’’ sand cushion as per drawings. The nominal thickness of bricks (9" x 4-3/8"x 2-11/16") shall be taken for the purpose of measurement and payment.
	26137


	CFT
	
	

	3
	Brick Work
	Brick work with 1:4 cement sand martor in foundation & plinth for construction /Rehabilitation of drain with plaster
	126.56


	CFT
	
	

	4
	Plain Cement Concrete
	Cement concrete plain including placing, compacting, finishing and curing, complete (including screening and washing of stone aggregate): RATIO 1:2:4
	4.50


	CFT
	
	

	5
	Visibility Boards
	MS SWG-18 -1.5" dia piped frame, 6ft Long with GI Sheet SWG-20,  4ft X 3ft (Framed with iron angle) fixed with pipe frame with 3-Iron pieces on all four sides, 8ft long column pipes with three welded angle irons at bottom on both sides for fixing in ground also includes painting, printing logos and writing with proper installation in village with PCC 1:2:4 at 2.0ft depth
	1
	No
	
	

	Total Amount PKR(B)
	

	Total Amount PKR (A+B)
	


3. Scope: Doaba Foundation invites tenders for the supplies/works described and summarized in accordance with procedures, conditions and contract terms, as prescribed in the tender documents. Doaba Foundation reserves the right to slightly vary the quantity of work/materials/supplies specified in the Tender Documents without any changes in unit price or other terms and conditions and to accept or reject any, all, or part of submitted offers.

4. Language: As determined by Doaba Foundation the working language of this tender is English. Other languages will not be accepted.

5. Qualifying and Conditions:  The main criteria for admission to the tender are as follows:

a) Certificate of Registration including GST certificate of incorporation/company registration under law of land where head office of country is located

b) Company registered with Pakistan Engineering Council in at least C-5 category (mandatory)
c) Company profile including status of firm (e.g. company out let, authorized dealer, whole seller, reseller etc)

d) Good track-record and references from previous clients including documentary evidence in shape of agreements/ contract with other international/UN organizations for last two years for similar nature of work.

e) Recognized bank account; Doaba Foundation will make all payments through cross cheque or through bank transfers in given bank account)

f) Performance Guarantee: 5% bid amount in shape of CDR/ Demand draft should be submitted at the time signing of contract. This 5% performance guarantee will be returned after 30 working days completion of all work as per agreement.    
Documentary proof of the above must be provided.
6. Tender Basis:

· All Tender Documents must be completed in full, or the application will be disqualified.

· All Applicants will receive identical documents: No applicant should add, omit, or change any item, term or condition in original papers.

· If Applicants have any additional request and conditions, this shall be stipulated in a separate letter accompanying the bid.

· Each applicant should take one bid only.

· Bids shall be made in writing calculated in PKR only and clearly stated on the appropriate forms.

· The price schedule must include all information requested, including origin of materials (if required).

· The applicant shall oblige the attached timetable for carrying out the works and propose ways and means to realize the works as stated in the tender documents.
· Doaba Foundation is not liable for any damage to the applicant person or property in the event that something should occur.  Doaba Foundation strongly recommends that all applicants take extra precaution when visiting/delivering supplies to a project site.  

7. Scope of Works: Construction of Medium to large level DRR infrastructure schemes (BoQ and drawings can be obtained from Doaba Foundation office Multan)” 
8. Payments: Payment will be made upon satisfactory delivery and technical verification/test report of the supplies and completion of the services to the location mentioned in tender notice/Invitation of Tender.

9. Performance Standards:  The works/services must be undertaken in accordance with all relevant rules, regulations and statutes currently in force in Pakistan.

10. Tender Documents:  All Tender Documents included in this package are listed on the Tender Document Receipt Form, signed by each recipient.
11. Eligibility of Applicants:  Applicants cannot apply if they:

· Are not registered companies.
· Are bankrupt or in the process of going bankrupt.

· Have been convicted for an offense concerning professional conduct.

· Have been guilty of grave professional misconduct (proven by any means which the contracting authorities can justify).

· Have not fulfilled obligations related to payment of taxes.

· Are guilty of serious misinterpretation/misrepresentations of facts in supplying information.

· Are in situations of conflict of interest (with prior relationship to project or family or business relationship to parties in Doaba Foundation & Deutsche Welthungerhilfe.
· Were declared at serious fault of implementation owing to a breach of their contractual obligations 

· Are on any list of sanctioned parties issued by the Pakistan Government.
· Have been reported for/under litigation for child abuse.

12. Bid Delivery:  All tenders will be delivered (through post/Courier/by hand) in standard format to DOABA Foundation Office House No 1 Street No 2 Near Razzia Iqbal Hospital Behind Toyota Showroom Shalimar Colony Bosan Road Multan, Pakistan in a sealed envelope and by the date stated in Tender Documents.  The envelope will be clearly marked with the precise reference of the invitation to which it is a response, the delivery address and the name of the applicant. Tenders delivered after the specified time will not be accepted. 

Bidders must obtain proof of submission of bids with date and time from Doaba Foundation.
13. Bid Opening:  The bids will be opened in the presence of the Tender Committee and Applicant’s Representative (who wish to witness), at the address and on the date specified in the Tender Documents.  The applicant’s name, the bid prices, the total amount of the bid, any discounts and such other information that the Doaba Foundation may consider appropriate will be announced and registered in the minutes.  

14. Bid Evaluation:  The Tender Committee will check the tenders to ensure that they contain no amendment to the terms or any other (calculation) errors, in case there is any calculation mistake, unit price will be considered as base for the correction, to assist in the examination, evaluation and comparison of bids, the Tender Committee may, at its discretion, request clarification from the Doaba Foundation staff or consultant or Bidder.
                Price: 70%
                Profile: 10%

                Sample’s Quality: 20%
· Bids evaluation: With Prices and costs the Tender Committee may take into account other criteria, including, but not limited to record of past performance, integrity, community rapport etc, when assigning companies to the designated short list.  

15. Selection of Tender:  Selection of the successful applicant will be based on the ranking of companies according to financial and technical criteria, as well as any other criteria suggested by the Tender Committee.  Based on this the Tender Committee will then make a recommendation.

16. Acceptance of Successful Tender:  Taking into consideration the recommendation of the Tender Committee, Doaba Foundation will make the final choice of the awarded firm.  Doaba Foundation will then send a letter of acceptance to the successful applicant.  After submitted documentation from the selected firm has been verified, the firm will then be obliged to sign the contract for the stated amount.  Any amendment to the awarded tender will be documented as an “Annex” to the contract and will be determined by (Doaba Foundation)
17. Specific Terms & Conditions:
 Sealed quotations clearly marked “quotations (medium to large level DRR infrastructure schemes)” must reach DOABA Foundation Office Banglow No 120-D, Street No 2 Behind Toyota Showroom Shalimar Colony Bosan Road Multan, Pakistan.
· The rates quoted should be inclusive of all applicable Govt. taxes & costs for packing, visibility, transportation, assembling, installation Loading/Un-loading at sites & all other related costs etc.

· Doaba Foundation will verify/check/inspect all the items before and after the delivery (Pre and Post Shipment).

· The completion of medium to large level DRR infrastructure schemes will be the responsibility of vendor. Vendor will be responsible to complete all the activities at Union Council Bakharpur,Bait Sontra and Peer Bakhsh Sharqi District Rajanpur.
· Evidence in shape of purchase orders/contracts for supply of similar items for last two years must be submitted with bids.
· Services and Goods QUOTED other than Doaba Foundation’s approved Specifications, drawings and BOQs will not be accepted and quotation will be treated as cancelled.

· Cost, profile status, quality & time factors will be given due consideration for selection of vendor.

· Payment will be released within 25-30 days, through cross cheque/ Demand draft in the name of business (after completion of work is per Satisfaction of Engineer in charge and submission of invoices, complete in all respect).

· Penalty @.05% per calendar day of the total contractual amount will be imposed in case of delays after agreed due date of job completion.
· Doaba Foundation reserves the right to hold the payment till the required services/goods supplied meet the required specifications/satisfactions of Doaba Foundation.
· Tender documents/quoted prices must be valid for minimum period of 90 calender days, from the date of opening of tenders.

·  Lowest price will not be the sole criteria for selection; quality, delivery time & past experience etc. will also be considered.

·  All construction/material/supplies must be completed on timeline given by Doaba Foundation.
· Doaba Foundation reserves the right to either accept/reject any quotation without assigning any reason, or increase/decrease the quantities as given in tender documents.

·  Being transparent organization Doaba Foundation welcome suggestions/observations from the bidders. But any baseless/un-justified complaints will lead to disqualification of business with Doaba Foundation and Doaba Foundation’s decision in this regard will be final. 

·  The vendor will be neither engaged in nor promote child labour.
·  The vendor should follow all the precautionary measures to protect physical, sexual, economical, psychological and emotional abuse of children.
·  The decision of Doaba Foundation will be final and binding on all.

Following documents must be submitted before tender closing:
· Written/printed quotation on letterhead paper or on Tender document. The quotation has included: the pre-qualification documents (3 Pages) as in Annex 1 must be (signed and stamped)
· Company Profile (Must include Past experiences, last 3 years financial statement, GST/Sales Tax registrations/NTN, PEC Registration, CVs of key personals, list of tools and Plants) 

Non provision of samples, upon request, will lead to exclusion of the tenderer.
Tender Conditions

·  The tenders, all correspondence and documents related to the tender exchanged by the tenderer and the Contracting Authority must be written in the language of the procedure, which is English.
·  The offer has to have a validity of minimum 90 calendar days following the tender deadline.
·  The Contracting Authority, in Pakistan, must receive the tenders before July 13, 2020 till 12:00PM.
·      The tender must include all the documents as specified in the tender documents and be sent to the following address:
DOABA Foundation Office Banglow No 120-D Street No 2 Near Razzia Iqbal Hospital Behind Toyota Showroom Shalimar Colony Bosan Road Multan,  Pakistan.
· All tenders, including annexes and all supporting documents, must be submitted in a sealed envelope bearing only:
· the above address;
· the reference code of this tender procedure, (DF-PAK1094-IFT-59-A);
· the words 'Not to be opened before the tender opening session
· The name of the tenderer.
· Quotations are to be provided per hard copy, in one copy only. Offers per e-mail or fax will not be accepted or considered.
· Alteration or withdrawal of tenders
Doaba Foundation  Foundation.  

In case of any questions contact 

061-6212857

doabafoundation.procurement@gmail.com
Annex 1

Supplier qualification

Page 1/3

	Company name
	

	Legal form
	

	Number of employees
	

	Nationality of company
	

	Postal address
	

	Visitors address
	

	Telephone number
	

	Email address
	

	Website
	

	Name of Managing Director
	

	Sales & marketing contact person
	

	Shipping department contact person
	

	Range of services provided by the company (company portfolio)
	

	Remarks
	


Note: Doaba Foundation carries out projects in the field of humanitarian aid and development cooperation which are also financed by the European Community, among others. Part of this qualifying process for our suppliers is the following declaration by your company (in accordance with European Union rules and conditions for the awarding of contracts for services, supplies of goods and construction services).
Page 2/3

Doaba Foundation supports the goals of the UN Global Compact

The UN Global Compact is a strategic policy initiative for businesses that are committed to aligning their operations and strategies with ten universally accepted principles in the areas of human rights, labour, environment and anti-corruption. By doing so, business, as a primary driver of globalisation, can help ensure that markets, commerce, technology and finance advance in ways that benefit economies and societies everywhere.

Human Rights
· Principle 1: Businesses should support and respect the protection of internationally proclaimed human rights; and

· Principle 2: make sure that they are not complicit in human rights abuses.  

Labour
· Principle 3: Businesses should uphold the freedom of association and the effective recognition of the right to collective bargaining;

· Principle 4: the elimination of all forms of forced and compulsory labour;

· Principle 5: the effective abolition of child labour; and

· Principle 6: the elimination of discrimination in respect of employment and occupation.  


Environment
· Principle 7: Businesses should support a precautionary approach to environmental challenges;

· Principle 8: undertake initiatives to promote greater environmental responsibility; and

· Principle 9: encourage the development and diffusion of environmentally friendly technologies.   

Anti-Corruption
· Principle 10: Businesses should work against corruption in all its forms, including extortion and bribery. 

The Global Compact is global and local; private and public; voluntary yet accountable.

Further information is available on this website in different languages: https://www.unglobalcompact.org
Supplier qualification

Page 3/3

We, ______________________________ (name of company) hereby declare that

a) we are not in bankruptcy proceedings, judicial insolvency proceedings or in liquidation, that we have not ceased our commercial activities and are not in a comparable situation by virtue of similar proceedings referred to in the national legal provisions,

b) we have not received a sanction by legally binding judgment for reasons which bring into doubt our professional reliability,

c) we comply with our duty to pay social insurance contributions, taxes or other levies in accordance with the legal provisions of the state in which we have our office, the state of the consignee, or the state where the contract is performed,

d) we have not received a legally binding sentence due to fraud, corruption, participation in a criminal association, or another act directed against the financial interests of the European Communities, 

e) no serious breaches of contract due to non-performance of our contractual obligations have been ascertained in connection with another contract or a contract awarded from the Community budget,

f) we are providing you with all the information required in connection with participation in a tender, 

g) in respect of contracts which are ultimately paid for out of European Community funds, no one has accused us of breach of contract due to gross violation of our contractual obligations, 

h) we have not been excluded as a contract partner by the European Community due to ethical issues, 

i) we assure the European Commission, the European Anti-Corruption Bureau and the auditors of the European Community reasonable access on demand to our business and accounting documents for the purpose of checks and audits, 

j) We respect basic social rights and condemn child labor.
We support the goals of the United Nations Global Compact https://www.unglobalcompact.org
________________________________________________________________

Date, company name, signature, name in block capitals, company stamp.
Declaration of Impartiality and Confidentiality, Page ¼

Publication ref:   ____________________
I, the undersigned, hereby declare that I agree to participate in the evaluation of the above-mentioned [tender procedure][call for proposals]. By making this declaration, I declare that I am aware of the following: 
1.
Financial persons and other persons involved in budget implementation and management, including acts preparatory thereto, audit or control shall not take any action which may bring their own interests into conflict with those of Welthungerhilfe and the Donor..


If such a risk exists, the person in question shall refrain from such action. He or she shall refer the matter to the authorising officer by delegation and inform his or her hierarchical superior. The authorising officer shall confirm in writing whether a conflict of interests exists. Where a conflict of interests is found to exist, the person in question shall cease all activities in the matter. The authorising officer by delegation shall personally take any further appropriate action.

2.
For the purposes of paragraph 1, a conflict of interests exists where the impartial and objective exercise of the functions of a financial person or other person, as referred to in paragraph 1, is compromised for reasons involving family, emotional life, political or national affinity, economic interest or any other shared interest with a recipient.

I hereby declare that, to my knowledge, I have no conflict of interest with the operators who have [applied to participate] [submitted a tender] for this contract, including persons or members of a consortium, or the subcontractors proposed.

I confirm that if I discover during the evaluation that such a conflict exists or might exist, I shall declare it immediately to the chairperson of the evaluation committee. In the case that such conflict is confirmed by the chairperson, I agree to cease from participating in the evaluation committee.

I confirm that I have familiarised myself with the information available to date concerning this [tender procedure][call for proposals], including the provisions of the Practical Guide relating to the evaluation process. 

I shall execute my responsibilities impartially and objectively. I further declare that, to the best of my knowledge, I am not in a situation that could cast doubt on my ability to evaluate the [tender(s)][application(s)].

I shall maintain the strictest confidentiality in respect of all information acquired as a result of my involvement in the evaluation process of the above-mentioned call, as well as any information relating specifically to the object of this call.

Declaration of Impartiality and Confidentiality, 
I undertake neither to disclose such information to any person who is not already authorised to have access to such information, nor to discuss it with any person in any public place or where others could overhear it.
(Name in Block letters, Date, Signature)

Page 1 of 22
Invitation for tender – DF-PAK1094-IFT-59-A

