6'-6"

2'-9"

1'-9"

Earth/Soil Filling around pipe

5'-6"

2'-0"

Platform 6.5'x5.5'

4'' Drain Pipe 30' length

Safe Disposal or Soakage Pit

X	X

412"

Step#3

1'-0"

3'-0"

18'

3'-6"

Ramp for PWDs 3.5' wide, 18' long

Step#2

Step#1

Stairs

3"

1'-6"

Parapet Wall

1'-0"

G.L

412"

Plaster (1:4) inner & outer

9"

1'-6"

6"

1'-0" 3" 3"

PCC (1:2:4)

Lean (1:4:8)

5'-9"

Compacted Soil

9"

Cross Sectional View at XX

1.5'' dia UPVC Pipe 1/2'' Shrouding

3'' dia UPVC Casing Pipe

Cloth around filter

3"

Shallow Hand Pump

LAAN+

Wooden Plug Average Bore Depth 70'